Unit Status

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| Unit Name | On VFT | On Dataplicity | Location | Remarks |
| 5kW - Unit 1 Backup 2 | offline | offline | Australia | Testing and maintenance - VSUN |
| 5kW - Unit 0 | offline | offline |  | Testing and maintenance - VSUN |
| 5kW - Unit 3 | offline | offline | Australia | No SIM |
| 5kW - Unit 4 | offline | offline | SG - Jurong Island | No SIM |
| 5kW - Unit 5 | offline | offline | SG - Jurong Island | Yet to deploy |
| 10kW - Unit 6 | offline | offline | India | Data lagging |
| 5kW - Unit 9 | online | online | Vietnam Unit |  |
| 100kW - Unit 11 | offline | offline |  | No SIM |
| 5kW - Unit 12 | offline | offline |  |  |
| 10kW - Unit1\_Shinoda | offline | offline | Japan |  |
| Cleantech\_10\_100kWh | offline | offline | SG - CT3 |  |
| 100kW - Unit 10 | offline | offline | SG - Palau Ubin |  |